# Nuclear + SOEC Co-Design Roadmap

## Purpose

Define a phased, financeable, and technically disciplined path to deploy insured SOEC systems at scale while developing a purpose-built nuclear reactor and custom SOEC stacks optimized for a fully integrated power-refinery architecture.

This roadmap answers How, When, and Where development occurs, without exposing production operations to technology risk.

## Guiding Principles

- Production systems remain fully insured and warrantied.

- R&D is physically and contractually isolated from revenue operations.

- Graduation between phases is data-driven, not belief-driven.

- Thermal integration is treated as a first-class design variable.

- Licensing strategy prioritizes conservative pathways.

## Phase 1: Bankable Production Backbone

### Objective

Establish reliable, financeable hydrogen production using commercially insured SOEC systems.

### How

- Deploy multi-MW SOEC blocks from an established vendor with:

  - 10-year service-backed warranty

  - Commissioning and ramp-up performance insurance

  - Known degradation curves

- Integrate SOEC systems with existing power infrastructure using conservative thermal assumptions.

### When

- Project Day 0 through Initial Commercial Operation

- No experimental hardware permitted in production loop

### Where

- Primary production hall

- Fully separated from R&D facilities

### Key Outputs

- Stable hydrogen output

- Insurer-validated operational data

- Baseline kWh/kg and degradation metrics

## Phase 2: Parallel SOEC Stack R&D Program

### Objective

Develop large-format SOEC stacks optimized for long-duration steady-state operation and direct DC integration.

### How

- Establish internal SOEC lab and pilot line

- Design stacks for:

  - Reduced stack count per MW

  - Embedded degradation telemetry

  - Robotic service access

  - DC-native power input

- Operate stacks under identical steam and power conditions as production units

### When

- Begins after production commissioning

- Runs continuously in parallel

### Where

- Dedicated R&D building

- Electrically, thermally, and operationally isolated

### Graduation Criteria

- Demonstrated efficiency improvement

- Lower degradation rate than insured baseline

- Equal or better uptime

## Phase 3: Thermal Conditioning via Molten Salt

### Objective

Eliminate electric steam superheaters and stabilize SOEC inlet temperature using molten salt thermal conditioning.

### How

- Design closed-loop molten salt system as thermal buffer

- Extract high-grade heat from power source

- Deliver precisely controlled steam temperature to SOEC inlet

### When

- After stable Phase 1 operation

- Before nuclear co-design begins

### Where

- Thermal interface zone between power and electrolysis systems

### Key Metrics

- Reduction in electric parasitic load

- Inlet temperature variance

- Impact on stack degradation

## Phase 4: Nuclear Reactor Co-Design Program

### Objective

Design a nuclear reactor purpose-built for continuous hydrogen production and process heat delivery.

### How

- Partner with national laboratories and independent nuclear physicists

- Focus design on:

  - Thermal-first output

  - DC power compatibility

  - Passive safety systems

  - Flat load profile

- Evaluate candidate reactor classes:

  - High-temperature gas reactors

  - Molten salt reactors

  - Fast-spectrum reactors with thermal off-ramps

### When

- Initiated after Phase 3 thermal validation

- Long-duration modeling and simulation phase

### Where

- Offsite national lab facilities

- Internal nuclear design cell

## Phase 5: Shadow Deployment and Validation

### Objective

Validate internally developed SOEC stacks and nuclear-thermal interfaces under real operating conditions.

### How

- Side-by-side operation with insured production systems

- Identical operating envelopes

- Independent monitoring and analytics

### When

- Multi-year operational window

### Where

- Dedicated validation hall

- Physically isolated from production

## Phase 6: Licensing and Commercialization

### Objective

Productize the integrated power-refinery system.

### How

- License reactor as power and process heat system

- Offer integrated solution:

  - Power

  - Hydrogen

  - Heat

  - Control software

- Provide service-backed warranties and performance guarantees

### When

- After multi-year operational proof

- Post insurer technical due diligence

### Where

- Target markets:

  - Refineries

  - Ammonia

  - Synthetic fuels

  - Steel

  - Water desalination

## Expected Outcomes

- 20% to 25% system-level efficiency improvement

- Reduced operating cost

- Improved SOEC stack life

- New industrial standard for power-paired refineries

## Summary

This roadmap creates a controlled path from insured production to category-defining infrastructure. It protects capital in the near term while positioning the platform to redefine how power and refining are built over the next century.