# HEBER CAMPUS

## PHASE 3 EXPANSION AND SCALE DOCTRINE

Document ID: HC-PH3-001

Revision: A (Draft)

Date: 2025-12-31

Applies To: Phase 3 – Large-Scale Industrial Expansion

Related Documents: HC-MGD-001, HC-SFR-001, HC-PH2-001, Appendix H (HRWL)

## 1. PURPOSE

This document formalizes the Phase 3 expansion doctrine for the Heber Campus. Phase 3 represents the transition from a profitable, stabilized integrated campus into a national-scale energy and fuels manufacturing platform.

Phase 3 is governed by strict trigger conditions, capital discipline, and modular replication. Expansion is demand-driven, not speculative.

## 2. PHASE 3 SCOPE OVERVIEW

Phase 3 expands the campus across three primary vectors:

- Data Center Expansion

- Renewable and Firm Power Expansion

- Hydrogen and Fuels Expansion

No Phase 3 asset shall be constructed unless Phase 2 trigger conditions are satisfied.

## 3. PHASE 3 ENTRY CONDITIONS (MANDATORY)

Phase 3 expansion shall not commence until all of the following have been achieved for a minimum of 12 consecutive months:

- DC utilization >= 90% across Phase 2 footprint

- SOEC uptime >= 95%

- Fuel production >= 95% of nameplate

- DSCR >= 1.40x

- Night load managed without routine backup fuel use

- Biomass supply contracts performing within cost and quality bands

Failure of any condition pauses expansion.

## 4. DATA CENTER EXPANSION (PHASE 3)

### 4.1 Target Scale

- Expansion from 8 buildings (Phase 2) to up to 16 buildings

- 50 MW IT load per building

- Total DC IT capacity: 800 MW

### 4.2 DC Operating Doctrine

- Tiered workload contracts remain mandatory

- Night throttling remains enforceable

- AI/HPC premium workloads prioritized

- Cooling governed by Appendix H (HRWL)

DC expansion is modular and demand-driven; buildings are commissioned individually.

## 5. POWER EXPANSION

### 5.1 Solar Generation

- Expansion from ~3.0 GW (Phase 2) to up to 5.0 GW

- Solar expansion is modular and financeable

- Primary role: support DC growth, SOEC daytime overdrive, and flexible exports

### 5.2 Firm Generation (SMRs)

- Addition of incremental SMR blocks (VOYGR modules)

- SMRs are added in modular banks aligned with night load growth

- No SMR block shall be commissioned without matching demand or contracted capacity

Biomass remains a core firming asset.

## 6. HYDROGEN AND SOEC EXPANSION

### 6.1 SOEC Scale

- Expansion from 457 t/day toward multi-unit replication

- SOEC trains added in parallel blocks

- Hot-standby doctrine preserved

- Day/night shaping remains enforced

### 6.2 Hydrogen Storage

- Hydrogen storage scaled proportionally to SOEC capacity

- Minimum buffering shall support steady fuels synthesis and night shaping

## 7. FUELS EXPANSION

### 7.1 Target Capacity

- Expansion from 18,000 bpd to up to 100,000 bpd

- Fuels expansion proceeds in modular refinery trains

### 7.2 Market Doctrine

- Fuels remain the primary margin driver

- Priority given to diesel and Jet-A

- SAF, military, and scarcity-driven markets prioritized

## 8. POWER EXPORT DOCTRINE (PHASE 3)

- Firm power commitments may increase but remain conservative

- Flexible and shaped exports dominate

- No firm export shall compromise fuel production or green compliance

## 9. FINANCIAL EXPECTATIONS (ORDER-OF-MAGNITUDE)

Phase 3 at full scale is expected to achieve:

- Total annual revenue: $2.5B – $3.5B

- EBITDA margin sustained >= 40%

- Debt service coverage ratio >= 1.50x

Exact values shall be updated as Phase 3 assets are defined.

## 10. RISK MANAGEMENT

Key Phase 3 risks:

- Overextension of capital

- Operational complexity

- Feedstock concentration

Mitigations:

- Modular replication

- Staggered commissioning

- Diversified biomass and hydrogen sourcing

## 11. GOVERNANCE

- Phase 3 expansions require governance approval

- Deviations from this doctrine require documented justification

- All Phase 3 assets must be compatible with prior phases

END OF DOCUMENT