Below is a Master Architecture Charter (MAC) outline that is capital-grade and regulator-friendly. It is written as a document skeleton you can hand to your SDK agents to populate, then route to PE/compliance review.

(ASCII only, per your standard.)

# MASTER ARCHITECTURE CHARTER (MAC)

Project: Heber Campus - Integrated Power + Hydrogen + Refinery + Controls

Doc ID: MAC-001

Revision: A (DRAFT)

Owner: ARCHITECT (Program Authority)

Date: YYYY-MM-DD

Distribution: Internal - Controlled

## 0. Executive Summary

- Purpose of this charter (freeze intent, control interfaces, govern changes)

- What “success” means (operational autonomy, compliance, finance readiness)

- Scope snapshot (power generation, hydrogen, storage, refining, controls, safety)

- High-level constraints (safety-first, auditability, regulator defensibility)

## 1. Mission and Non-Negotiables

### 1.1 Mission Statement

- One paragraph: why this facility exists, what it produces, what it enables

### 1.2 Non-Negotiable Design Principles

- Safety over performance

- Defense-in-depth

- Separation of authority (control vs safety PLC vs supervisory AI)

- Analyzer-verified purity and quality control

- No single point of failure for critical services

- Observability and audit trails are mandatory (logs are first-class)

### 1.3 Program Success Criteria (Measurable)

- Availability targets (by subsystem and overall)

- Purity targets (by hydrogen consumer class)

- Power quality targets (voltage, frequency, harmonic limits)

- Safety targets (trip coverage, response times, E-stop reachability)

- Compliance targets (code frameworks mapped and tracked)

## 2. Scope Definition

### 2.1 In-Scope Systems

- Generation: SMR(s), biomass plant, solar, turbines (if applicable)

- Conversion: SOEC/PEM electrolyzers

- Storage: batteries, hydrogen banks, thermal buffer

- Distribution: electrical distribution, hydrogen distribution, steam/thermal loops

- Refinery/chemicals: diesel/jet/LPG baseline, CO2 capture utilization

- Controls: MECSAI supervisory, SCADA, safety PLC, historian, cybersecurity

- Safety systems: ventilation, purge, detectors, fire suppression, E-stops

### 2.2 Out-of-Scope (Explicit)

- Anything not being engineered in this phase (avoid scope creep)

- Future expansions reserved for later revisions

### 2.3 Assumptions

- Site conditions, utilities, access, water sourcing

- Operating profile (24/7 baseline, ramp behavior, seasonal variability)

- Staffing model (operators, maintenance, security)

## 3. System Architecture Overview

### 3.1 Block Diagram (Top-Level)

- Energy sources -> conversion -> storage -> loads

- Hydrogen production -> cleanup -> compression -> storage -> consumers

- Thermal sources -> buffer -> sinks (SOEC steam conditioning, refinery heat, etc.)

### 3.2 Operating Modes (State Machine)

Define modes with entry/exit criteria:

- Start-up

- Normal (Day - high solar)

- Normal (Night - storage dispatch)

- Low-solar contingency

- Maintenance mode

- Emergency shutdown

- Black start / recovery

### 3.3 Energy Management Philosophy

- Priority order (safety loads > critical loads > discretionary loads)

- Dispatch logic (batteries smooth, hydrogen duration, turbines/SMR base)

- Curtailment rules and storage targets

## 4. Interface Control (ICD) Master Index

This is where architecture becomes enforceable.

### 4.1 ICD List (Power/Fluid/Thermal/Data)

- ICD-PWR-001: DC bus specs (48V, currents, protections)

- ICD-PWR-002: AC distribution specs (split-phase/3-phase, ampacity, grounding)

- ICD-FLD-001: Hydrogen purity classes and routing rules

- ICD-FLD-002: Steam specs (pressure, temperature, quality)

- ICD-THM-001: Thermal buffer and radiator loop specs

- ICD-DAT-001: Control network, protocols (MQTT/Modbus/OPC UA), time sync

- ICD-SAF-001: E-stop chain, permissives, interlocks

### 4.2 “No-TBD” Rule for Interfaces

- Interfaces cannot ship with TBD values

- Any TBD triggers a design hold and risk entry

## 5. Hydrogen Quality and Segregation Policy

### 5.1 Hydrogen Consumer Classes

- Class A: Fuel cells (highest purity)

- Class B: Industrial processes (defined impurity envelope)

- Class C: Combustion/appliances (odorized/visibility additives if used)

### 5.2 Segregation Rules

- Physical separation requirements

- Directional flow enforcement requirements

- Purge and vent requirements

- Analyzer placement (upstream/downstream) and alarm thresholds

### 5.3 Contamination Control

- “Contamination is a fault state” doctrine

- Automatic isolation logic

- Recovery procedures (purge, re-certify, lockout/tagout)

## 6. Controls Architecture and Authority Boundaries

### 6.1 Control Layers

- Level 0: Field sensors/actuators

- Level 1: Safety PLC (hard interlocks, E-stops, purge, watchdog)

- Level 2: SCADA / basic control

- Level 3: MECSAI supervisory optimization (setpoints only, no direct toggling)

- Level 4: Planning/forecasting (weather, schedule, market inputs if applicable)

### 6.2 Circular LLM Law Doctrine (Formalized)

- Roles (Generator, Checker, Auditor, Executor, Archivist)

- Prohibited actions (self-approval, self-modification of rules, silent writes)

- Required artifacts (decision memo, evidence pack, change log, hash)

- Approval gates (human approval points, PE approval points)

### 6.3 Logging and Observability

- What is logged (triggers, actions, state changes, anomalies)

- Retention policy (hot vs cold storage)

- Integrity model (hashing, append-only, tamper evidence)

## 7. Safety Case Framework

### 7.1 Safety Philosophy

- Defense in depth layers

- Safety functions, SIL targets where applicable

- Hazard categories (H2, high pressure, high temp steam, battery, radiation if SMR)

### 7.2 Hazard Analysis Plan

- HAZID

- HAZOP

- FMEA

- LOPA (if used)

- Max Credible Event (MCE) definition and containment strategy

### 7.3 Emergency Systems

- E-stops (locations, coverage)

- Venting/bleed strategy

- Fire suppression philosophy (battery-safe, H2-safe)

- Muster points and response procedures

## 8. Compliance and Regulatory Mapping

### 8.1 Code/Standard Map (Placeholder Table)

- Electrical: NEC / NFPA 70

- Hydrogen: NFPA 2 / NFPA 55

- Pressure vessels: ASME BPVC (as applicable)

- Process safety: OSHA PSM (if thresholds met)

- Environmental: EPA air/water permits, state DEQ

- Nuclear: NRC/DOE pathways (if applicable)

- Local: County/State building code, fire marshal requirements

### 8.2 Compliance Evidence Pack Requirements

- What documents must exist before each permit submission

- Traceability matrix requirements

## 9. Phasing Strategy (Build Order)

- Phase 0: Site prep + utilities

- Phase 1: Core power (baseline generation + distribution)

- Phase 2: Hydrogen production + storage

- Phase 3: Refinery/chemical trains

- Phase 4: Optimization + expansion

Each phase includes:

- Entry criteria

- Exit criteria

- Test and acceptance plan

## 10. Verification, Validation, and Acceptance

### 10.1 Test Strategy

- Factory Acceptance Tests (FAT)

- Site Acceptance Tests (SAT)

- Commissioning plan

- Performance validation against success criteria

### 10.2 Quality Gates

- Document completeness gate

- Compliance lint gate

- Interface gate (ICDs frozen)

- Safety gate (hazards reviewed and mitigations assigned)

- PE readiness gate (stamp package assembled)

## 11. Change Control

- Revision control rules

- Who can propose changes

- Who can approve changes (authority matrix)

- Emergency change process

- Configuration management (baseline snapshots, hashes)

## 12. Risk Register (Master)

- Top risks (technical, regulatory, financing, schedule)

- Mitigation owners

- Trigger thresholds

- Residual risk acceptance authority

## 13. IP, Confidentiality, and Access Control

- What is trade secret vs patentable vs publishable

- Document classification levels

- Agent access rules (read/write scopes)

- Vendor NDA requirements

## 14. Appendices

- A: Glossary

- B: Acronyms

- C: Master diagram set index

- D: ICD templates

- E: Traceability matrix template

- F: Authority matrix (RACI)

- G: Cybersecurity baseline (IEC 62443 / NIST 800-82 aligned)

## Immediate next step (practical)

Take this outline and generate three companion documents (these make it real fast):

- MAC-001 Annex: Authority Matrix (RACI + veto rights)

- MAC-001 Annex: ICD Master Table (with numeric placeholders you will fill)

- MAC-001 Annex: Operating Modes State Machine (entry/exit criteria)

If you want, I will draft those three annexes next in the same ASCII, regulator-grade style.