# ====================================================================

# HEBER CAMPUS - MASTER GUIDELINE DOCUMENT (MGD)

# Document ID: HC-MGD-001

# Revision: A

# Date: 2025-12-27

# Owner: ARCHITECT (Program), MECHWORK (Engineering Integration)

# Applies To: Heber Campus terrestrial operations and all subsystems

- PURPOSE

- Establish a single authoritative engineering baseline for the Heber Campus.

- Lock target outputs, sizing basis, operating doctrine, and interface rules.

- Provide a design contract for all subsystem engineering to prevent drift.

- MISSION STATEMENT

Design and build a vertically integrated energy manufacturing campus that produces:

- 18,000 bpd finished fuels (Diesel, Jet-A, LPG)

- 1.5 GW dispatchable electrical generation capacity

- Industrial hydrogen and oxygen via SOEC

- Scalable data center capacity (4 buildings baseline)

While maintaining safety, reliability, and long-term cost advantage over fossil refineries without dependence on fossil feedstocks.

- BASELINE PRODUCT SLATE (LOCKED)

3.1 Finished fuels output (nameplate)

- Diesel (ULSD): 12,000 barrels per day

- Jet-A: 4,000 barrels per day

- LPG (Propane/Butane mix): 2,000 barrels per day

- Total liquids: 18,000 barrels per day

3.2 Data center buildout (nameplate)

- 4 data center buildings, 100,000 sq ft each

- Target total IT load: 200 MW

- Target PUE: 1.20 to 1.30

3.3 Electrical generation (nameplate)

- Total generation capacity: 1.5 GW

- Must support internal loads and export.

- OPERATING DOCTRINE

4.1 Campus is an energy conversion platform, not a single-product plant

- Power, fuels, hydrogen, oxygen, CO2, and data workloads are routed dynamically.

- Revenue capture shifts to strongest market while maintaining process stability.

4.2 Stability over peak margin

- Design for 95% uptime steady-state operation.

- Avoid designs that require frequent thermal cycling of SOEC, FT, or gasification systems.

4.3 Phased expansion

- Phase 1: Prove continuous diesel-first operations.

- Phase 2: Expand jet capability and polishing.

- Phase 3: Harden logistics, add optional CO2 and NG resilience, expand storage.

- Phase 4+: Duplicate modules to scale fuels and data centers.

- HIGH-LEVEL MASS AND ENERGY BASIS (ENGINEERING START POINT)

5.1 Hydrogen requirement (baseline)

- H2 demand basis: 457 t/day (457,000 kg/day)

- This is the campus planning basis until detailed PFD mass balance replaces it.

5.2 Oxygen co-product

- O2 produced: ~3,650 t/day (8 kg O2 per 1 kg H2)

- O2 is treated as a primary process asset (gasifier, oxy-combustion, process burners).

5.3 Water requirement

- Chemistry minimum for electrolysis: 9 kg water per 1 kg H2

- Minimum water for H2: ~1.09 MGD

- Design water withdrawal planning basis: 1.5 to 2.0 MGD total for process and utilities.

- Source: Coconino aquifer, subject to ADEQ approvals.

5.4 Biomass requirement (baseline planning)

- Biomass inbound basis for fuels + 100 MW biomass electric:

  - Fuels carbon island: 5,500 to 6,500 tons/day as received (early planning)

  - Biomass electric target: 100 MW average (steam-forward CHP preferred)

- Total biomass as received will be refined by feedstock blend model and PFD mass balance.

- POWER ARCHITECTURE REQUIREMENTS

6.1 Internal power priority order (default dispatch)

- Critical safety systems, controls, purge, ventilation

- Data center uptime load (baseload anchor)

- SOEC minimum stable operating band (avoid thermal cycling)

- Chemical plant steady-state duty

- Battery charging and hydrogen storage fill

- Merchant export

6.2 Internal electric pricing doctrine (accounting)

- PowerCo and RefineryCo must be modeled separately.

- Transfer pricing internal power must be defined even if consolidated economics capture the upside.

6.3 Firming and resilience

- System must ride through cloud cover and renewable variance using:

  - Battery buffering

  - Firm power sources (SMR and biomass)

  - Load-shaping and turndown logic on non-critical processes

- PROCESS ARCHITECTURE REQUIREMENTS

7.1 Carbon pathway baseline

- Hybrid pathway is baseline:

  - Biomass gasification -> syngas cleanup -> conditioning

  - RWGS trim using H2 + CO2 for H2/CO control

  - Fischer-Tropsch synthesis

  - Upgrading (hydrocracking/isomerization/hydrotreat)

  - Fractionation and blending to Diesel, Jet-A, LPG

7.2 SOEC steam doctrine

- External steam supply: 150 to 200 C to BOP

- SOEC internal heating raises to operating temperature (650 to 800 C internal)

- Design to minimize SOEC thermal cycling; favor hot standby.

7.3 CO2 doctrine

- Internal carbon supply must support 110% of demand.

- External CO2 (Novo, Navajo Nation, others) is makeup only, never baseload dependency.

- CO2 storage must buffer 3 to 5 days of consumption (final tankage per PFD).

7.4 Natural gas doctrine

- NG pipeline tap is optional resilience:

  - Startup and shutdown heat

  - Emergency backup generation

  - Extreme weather and outage insurance

- NG must not be required for steady-state economics or carbon narrative.

- LOGISTICS AND INFRASTRUCTURE REQUIREMENTS

8.1 Northbound spine doctrine

- Tie campus to I-40 corridor for:

  - Pipeline infrastructure (product out)

  - Natural gas in (optional)

  - Rail loop connectivity

  - Highway access improvements

8.2 Rail doctrine

- Rail loop is preferred over spur.

- Rail is primary for biomass at scale; trucks are local only (depot model).

- Rail must support unit train or high-throughput switching to avoid yard congestion.

8.3 Road doctrine

- Leverage existing paved corridors where possible (AZ-99 concept) to minimize new construction.

- Heavy traffic routing must avoid Heber residential disruption.

- Emergency access routes must be redundant.

- DATA CENTER REQUIREMENTS

9.1 Scalability

- Site must reserve pads and utility corridors for buildings 2-4 from Day 1.

- Electrical redundancy design must support modular expansion without rework.

9.2 Cooling doctrine

- Thermal integration is allowed and encouraged where it does not add fragility.

- Water consumption impact must remain inside the campus water planning basis.

- STAFFING BASIS (STEADY STATE)

- Integrated campus staffing basis (power + refinery + H2 + biomass + admin): 550 to 700

- Data center staffing basis (4 buildings): 120 to 160

- Total direct staff: 670 to 860

- Planning basis: 750 to 800 direct employees

- SAFETY AND COMPLIANCE REQUIREMENTS

11.1 Safety hierarchy

- Life safety first, asset second, production third.

- Safety PLC handles hard real-time shutdown logic independent of AI supervisor.

- MECSAI issues setpoints only; never directly toggles hardware.

11.2 Core compliance domains

- Hydrogen safety: detection, ventilation, purging, separation distances, emergency isolation

- Process safety management: hazard analysis and operating procedures

- Electrical: NEC compliance, arc flash study, grounding, protection coordination

- Pressure systems: ASME where applicable, relief and vent systems

- Environmental: ADEQ air and water, reporting and monitoring

11.3 Emergency response

- Onsite E-stops, remote shutoffs, and clear emergency signage.

- Fire suppression designed for battery and industrial process zones.

- CONTROL SYSTEM REQUIREMENTS

12.1 MECSAI supervisory doctrine

- Monitors: power flows, battery SOC, hydrogen storage, thermal buffers, weather forecast, demand.

- Maintains minimum stable operation bands for critical subsystems.

- Logs every decision and action for audit.

12.2 Interface control

- Every subsystem publishes an ICD: power, fluid, thermal, controls.

- No TBDs allowed at interface boundaries for production release.

- ECONOMICS AND CONTRACTING REQUIREMENTS

13.1 Feedstock strategy

- Phase 1: forestry contracts + farmer contracts

- Phase 2: diversify with Navajo Nation biomass supply and additional depots

- Phase 3: consider land ownership only after stable cash flow

13.2 Revenue strategy

- Three-legged stool:

  - Power export revenue

  - Fuels revenue

  - Data center revenue

- Maintain optionality to shift export vs internal consumption depending on market.

- PHASING AND GATES

Phase Gate 0 - Site and ROW lock

- ROW options secured for rail, pipelines, roads, utilities.

Phase Gate 1 - Power backbone and minimum viable fuels

- Prove continuous operation, safety, and product quality.

- Diesel-first commissioning.

Phase Gate 2 - Full 18,000 bpd slate at spec

- Jet-A polishing and stable quality compliance.

- LPG polishing as needed.

Phase Gate 3 - Northbound spine completion

- Rail loop operational

- Road connector and traffic plan operational

- Product pipeline tie-in operational

Phase Gate 4 - Expansion modules

- Duplicate SOEC, FT trains, storage, and add DC buildings as demand grows.

- ACCEPTANCE CRITERIA (TOP LEVEL)

- Production: achieve 12/4/2 bpd outputs at contract spec.

- Availability: 95% annual uptime target after stabilization.

- Safety: zero critical compliance failures; validated shutdown and purge logic.

- Logistics: demonstrated inbound biomass throughput without urban disruption.

- Data centers: PUE within target range and uptime compliance.

- GOVERNANCE AND CHANGE CONTROL

- This MGD is the top-level design contract.

- Any change to Sections 3-7 requires ARCHITECT approval and ATB review.

- All changes must include:

  - impact on outputs

  - impact on interfaces

  - capex and opex impact

  - risk and mitigation

- CHANGE LOG

- Rev A: Initial baseline established from approved 12/4/2 product slate, 1.5 GW generation, 4 DC buildings, hybrid fuels pathway, northbound spine doctrine.

====================================================================