Proceeding.

Below are the three annex documents, written as capital-grade, regulator-facing artifacts, ready to be populated by SDK agents and later reviewed by PEs and authorities.

ASCII only. No fluff.

# ==================================================

# DOCUMENT 1

DOCUMENT TITLE: AUTHORITY MATRIX AND CONTROL GOVERNANCE

DOC ID: MAC-001-ANNEX-A

REVISION: A (DRAFT)

STATUS: CONTROLLED

OWNER: ARCHITECT

DATE: YYYY-MM-DD

## 1. PURPOSE

This document defines authority boundaries, veto rights, and separation of duties across humans, SDK agents, control systems, and safety systems.

This matrix is non-negotiable and supersedes optimization, schedule, or cost considerations.

## 2. AUTHORITY PRINCIPLES

- No single actor may design, approve, execute, and record the same decision.

- Safety authority always overrides operational authority.

- Humans retain final approval for irreversible actions.

- SDK agents may generate and analyze, but never self-approve.

- Safety PLC is sovereign and cannot be overridden by AI or SCADA.

## 3. ROLE DEFINITIONS

ROLES (HUMAN):

- ARCHITECT: System intent owner, architectural veto

- PE-ENG: Licensed Professional Engineer (discipline-specific)

- SAFETY-OFFICER: Process and life-safety authority

- OPERATIONS-LEAD: Day-to-day operational authority

- COMPLIANCE-LEAD: Regulatory and permitting authority

ROLES (SYSTEM / AGENT):

- SDK-GENERATOR: Produces designs, calculations, drafts

- SDK-CHECKER: Independent verification and validation

- SDK-AUDITOR: Consistency, compliance, and traceability review

- MECSAI: Supervisory optimization and advisory only

- SCADA: Execution of approved control logic

- SAFETY-PLC: Hard interlocks, E-stops, purge, trip logic

- HISTORIAN: Append-only record keeper

## 4. RACI MATRIX (SIMPLIFIED)

Legend:

R = Responsible

A = Accountable (final authority)

C = Consulted

I = Informed

V = Veto Authority

## ACTIVITY                         ARCH  PE   SAFE  OPS  COMP  PLC

Architecture Freeze              A,V   C    C     I    I     I

ICD Definition                   A,V   R    C     I    C     I

Process Design (P&ID)            A     R    C     I    I     I

Safety Function Definition       C     C    A,V   I    I     R

Control Logic Approval           A     C    V     R    I     V

Operational Setpoints            I     I    V     A    I     V

Emergency Shutdown               I     I    A,V   I    I     R

Change Order Approval            A,V   C    C     I    C     I

Regulatory Submission            I     C    C     I    A,V   I

Commissioning Acceptance         A     R    V     R    C     I

NOTE: Any activity touching life safety, hydrogen purity, pressure boundaries,

or nuclear interfaces automatically invokes SAFETY-OFFICER veto authority.

## 5. SDK AGENT PERMISSIONS

SDK-GENERATOR:

- May draft documents, diagrams, calculations

- May not approve or execute

- Read/write limited to DESIGN workspace

SDK-CHECKER:

- Read-only access to DESIGN outputs

- Produces independent verification artifacts

- Cannot modify originals

SDK-AUDITOR:

- Read-only access to all artifacts

- May block progression via non-conformance flags

ALL SDK AGENTS:

- No direct hardware control

- No silent writes

- No rule modification

- All outputs logged and hashed

## 6. ESCALATION PATH

- Safety dispute: SAFETY-OFFICER -> ARCHITECT

- Design dispute: PE-ENG -> ARCHITECT

- Compliance dispute: COMPLIANCE-LEAD -> ARCHITECT

- Unresolved conflicts: ARCHITECT decision recorded with justification memo

# ==================================================

# DOCUMENT 2

DOCUMENT TITLE: INTERFACE CONTROL MASTER TABLE

DOC ID: MAC-001-ANNEX-B

REVISION: A (DRAFT)

STATUS: CONTROLLED

OWNER: ARCHITECT

DATE: YYYY-MM-DD

## 1. PURPOSE

This table defines all enforceable interfaces.

Any system not conforming to an ICD is not allowed to connect.

“No TBD” rule applies.

## 2. INTERFACE CONTROL TABLE

## ICD ID        DOMAIN     FROM              TO                KEY PARAMETERS

ICD-PWR-001   ELECTRICAL SOLAR / SMR / FC  DC BUS            Voltage: 48V DC

Current: TBD A

Isolation: Galvanic

Protection: OVP, OCP

ICD-PWR-002   ELECTRICAL DC BUS            INVERTERS         Max ripple: TBD %

Grounding: Single-point

Fault ride-through: Yes

ICD-PWR-003   ELECTRICAL INVERTERS         AC DIST           Voltage: 120/240 VAC

Freq: 60 Hz +- TBD

Harmonics: IEEE TBD

ICD-FLD-001   HYDROGEN   ELECTROLYZER      PURIFIER          Pressure: TBD bar

Temp: TBD C

Moisture max: TBD ppm

ICD-FLD-002   HYDROGEN   PURIFIER          COMPRESSOR        Purity: >= 99.99%

O2 max: TBD ppm

Flow: TBD kg/day

ICD-FLD-003   HYDROGEN   STORAGE           FUEL CELLS        Purity Class A

Sulfur: 0 ppm

Pressure: TBD bar

ICD-FLD-004   HYDROGEN   STORAGE           APPLIANCE LINE    Purity Class C

Odorant: Enabled

Additives: Controlled

ICD-THM-001   THERMAL    SMR / BIOMASS     STEAM HEADER      Pressure: TBD

Temp: TBD

Quality: Dry sat

ICD-THM-002   THERMAL    BUFFER TANK       RADIATOR LOOP     Flow: TBD GPM

Delta-T: TBD C

ICD-DAT-001   DATA       FIELD DEVICES     PLC / SCADA       Protocol: Modbus

Update rate: TBD ms

ICD-DAT-002   DATA       PLC / SCADA       MECSAI            Direction: Read-only

Commands: Setpoints only

ICD-SAF-001   SAFETY     E-STOPS           SAFETY PLC        Response: < TBD ms

Latching: Yes

## 3. INTERFACE RULES

- Any change to an ICD requires MAC revision.

- Pressure, purity, and voltage mismatches are automatic hard stops.

- MECSAI may not bypass any ICD constraint.

# ==================================================

# DOCUMENT 3

DOCUMENT TITLE: OPERATING MODES AND STATE MACHINE

DOC ID: MAC-001-ANNEX-C

REVISION: A (DRAFT)

STATUS: CONTROLLED

OWNER: ARCHITECT

DATE: YYYY-MM-DD

## 1. PURPOSE

Defines explicit operating modes, entry criteria, exit criteria, and authority.

No undefined states are permitted.

## 2. OPERATING MODES

### MODE 0: OFFLINE / SAFE

Entry:

- Manual shutdown

- Commissioning not complete

- Safety fault unresolved

Actions:

- Hydrogen isolated

- Electrical isolated

- Purge complete

Authority:

- SAFETY-PLC (primary)

- ARCHITECT approval to exit

### MODE 1: STARTUP

Entry:

- MODE 0 complete

- All safety systems green

- PE-approved procedures loaded

Actions:

- Sequential energization

- Analyzer warm-up

- Leak checks

Authority:

- OPERATIONS-LEAD

- SAFETY-OFFICER veto

Exit:

- All subsystems stable for TBD duration

### MODE 2: NORMAL - DAY (HIGH SOLAR)

Entry:

- Solar output > TBD threshold

- Storage available

Actions:

- Prioritize electrolyzers

- Charge batteries

- Maintain hydrogen targets

Authority:

- MECSAI (advisory)

- SCADA execution

- SAFETY-PLC override

### MODE 3: NORMAL - NIGHT (STORAGE DISPATCH)

Entry:

- Solar below threshold

- Storage above minimums

Actions:

- Fuel cells primary

- Batteries for transients

- Thermal reuse active

Authority:

- MECSAI (setpoints)

- SAFETY-PLC sovereign

### MODE 4: LOW-SOLAR / CONTINGENCY

Entry:

- Storage below targets

- Generation degraded

Actions:

- Load shedding (predefined order)

- Preserve safety loads

Authority:

- OPERATIONS-LEAD

- SAFETY-PLC

### MODE 5: MAINTENANCE

Entry:

- Manual request

- Hydrogen isolated and purged

Actions:

- Lockout/tagout enforced

- No autonomous control

Authority:

- SAFETY-OFFICER

### MODE 6: EMERGENCY SHUTDOWN

Entry:

- Hydrogen detection

- Overpressure

- Fire

- Manual E-stop

Actions:

- Immediate isolation

- Venting per design

- Power down except safety

Authority:

- SAFETY-PLC ONLY

### MODE 7: BLACK START / RECOVERY

Entry:

- Total power loss

- Safety verified

Actions:

- Sequential restart

- Limited loads only

Authority:

- ARCHITECT + OPERATIONS-LEAD

- SAFETY-PLC veto

## 3. MODE TRANSITION RULES

- No direct transition allowed into NORMAL modes from EMERGENCY.

- All transitions logged with timestamp, trigger, authority.

- MECSAI may recommend transitions but cannot force them.

## FINAL NOTE

With these three documents in place:

- Your intent is frozen

- Authority is enforceable

- SDK agents can now safely generate real engineering artifacts

- Regulators will see structure, not chaos

- Capital will see control, not risk

Next logical step:

Generate P&ID templates and control philosophy narrative that explicitly reference these annexes.

If you want to proceed, say:

“Generate control philosophy narrative” or

“Generate P&ID master template”