DC-BLDG-OPS-DOCTRINE-001

Data Center Operations & Mobility Doctrine – Rev A
Applies to: Buildings 1–16
Building 1 = Proof-of-Concept

1. PURPOSE

1.1 This document defines the mandatory operating doctrine for all data center buildings.

1.2 It establishes:

- technician mobility rules

- robotic task boundaries

- maintenance workflows

- fault response escalation

- transition rules from POC to replication

1.3 This doctrine is binding for:

- operations staff

- facilities engineering

- IT operations

- MECSAI analytics

- safety and insurance reviews

2. CORE OPERATING PRINCIPLES (NON-NEGOTIABLE)

2.1 Compute continuity always has priority over convenience.

2.2 Wet work, heavy service, and component staging occur only in the utility bay.

2.3 Hardware clears faults. Humans investigate. Software analyzes.

2.4 No optimization shall compromise isolation boundaries.

3. OPERATIONAL ZONING

3.1 Buildings are divided into four (4) operational zones:

- Zone A: 0–150 ft

- Zone B: 150–300 ft

- Zone C: 300–450 ft

- Zone D: 450–600 ft

3.2 Each zone is treated as a semi-independent operational cell:

- dedicated service node

- dedicated CDU groups

- dedicated power domains

- dedicated isolation boundaries

3.3 Incidents must be contained within a single zone unless explicitly escalated.

4. TECHNICIAN MOBILITY DOCTRINE

4.1 Scooter Operations

4.1.1 Scooters are authorized only in the utility bay.

4.1.2 Minimum scooter lane width:

- 6 ft clear, continuous full length

4.1.3 Scooter speed:

- limited to posted facility speed

- enforced by policy and surveillance

4.1.4 Scooter docking:

- docking and charging stations located at each service node

- scooters prohibited in compute bay at all times

4.1.5 PPE:

- helmets and facility-approved PPE mandatory during scooter use

4.2 Pedestrian Operations

4.2.1 Compute bay is pedestrian-only.

4.2.2 Pedestrian crossings between bays occur only at designated transition points.

4.2.3 Emergency egress always supersedes mobility lanes.

5. ROBOT OPERATIONS DOCTRINE

5.1 Authorized Robot Roles

Robots may perform:

- parts delivery

- cable kit transport

- inventory audits

- inspection patrols (thermal, visual)

- tool cart movement

- repetitive logistics tasks

Robots may not:

- perform wet maintenance

- operate valves or breakers

- work inside rack enclosures without explicit approval

5.2 Robot Lanes and Navigation

5.2.1 Robots operate only in the utility bay.

5.2.2 Minimum robot lane width:

- 4 ft clear, continuous

5.2.3 Navigation:

- floor-based markers (QR or equivalent) every 10 ft

- redundant vision-based localization encouraged

5.2.4 Robot docking:

- docking and charging stations at each service node

6. SERVICE NODE OPERATIONS

6.1 Service nodes are located at each zone boundary (minimum).

6.2 Each service node includes:

- parts storage (high-turn spares)

- workstations for cable make-up/testing

- scooter docking and charging

- robot docking and charging

- spill kits and wet maintenance bench

- instrumentation and labeling terminals

6.3 Service nodes are the primary work locations.
Ad-hoc work in aisles is discouraged and logged.

7. MAINTENANCE WORKFLOWS

7.1 Routine Maintenance

- Scheduled during low-load windows when possible

- Performed from utility bay

- Pod group isolation required before wet work

7.2 Corrective Maintenance

- Hardware fault occurs

- Hardware protection clears fault

- Alarm propagates to operations

- Technician investigation from utility bay

- Escalation if fault crosses pod or zone boundary

7.3 Wet Work Protocol

- Wet work prohibited in compute bay

- CDU maintenance only in utility bay

- Drains and containment verified before work begins

- Post-work inspection required

8. FAULT RESPONSE AND ESCALATION

8.1 Fault hierarchy:

- Rack

- Pod

- Zone

- Building

8.2 Automatic response:

- Hardware clears faults locally

- Isolation enforced at smallest possible domain

8.3 Human response:

- Investigate

- Repair

- Manually reset after inspection

8.4 MECSAI role:

- Correlate fault events

- Identify patterns

- Recommend actions

- No direct control authority

9. HOUSEKEEPING AND CONTAMINATION CONTROL

9.1 Compute bay standards:

- no loose materials

- no liquids

- no staging

- no food or drink

9.2 Utility bay standards:

- designated wet zones only

- spills immediately reported and logged

- trench drain inspected daily

10. BUILDING 1 – POC OPERATIONAL EXTENSIONS

10.1 Building 1 shall:

- allow expanded instrumentation

- trial new robot workflows

- test alternative service node layouts

- test density variations within envelope

10.2 Any deviations must:

- be logged

- be measured

- not alter fixed geometry

11. TRANSITION TO BUILDINGS 2–16

11.1 After POC validation:

- workflows standardized

- non-essential instrumentation reduced

- robot task lists finalized

- training materials locked

11.2 Buildings 2–16 replicate:

- geometry

- zoning

- mobility doctrine

- maintenance workflows

No building-specific exceptions without formal revision.

12. PROHIBITIONS

- Scooters in compute bay

- Robots in compute bay

- Wet work outside utility bay

- Bypassing isolation steps

- Software-controlled fault clearing

13. GOVERNANCE AND REVISION CONTROL

- Rev A applies immediately

- Revisions require operational data justification

- All changes must preserve isolation and safety boundaries

FINAL STATUS

You now have a complete, internally consistent data center architecture stack:

- Building geometry

- Electrical envelope

- Cooling envelope

- Instrumentation map

- Operations and mobility doctrine

This is sufficient to:

- engage architects and engineers

- issue RFPs

- satisfy insurers

- build Building 1 as a true POC

- replicate Buildings 2–16 without redesign